## Sheet0
Code | Name
5000 | average calculated from insufficient number of values
5001 | reset
5002 | the value does not meet the previous calibration
5003 | calibration
5004 | power failure
5006 | empty - no data delivered so far
5007 | error
5008 | intervention of the operator
5009 | nil - no measurement
5010 | unverified value
5011 | regular maintenance
6000 | the monitor is banned from calculating concentrations
6666 | monitor taken away
7000 | data from the station was taken away
7070 | monitor gives erroneous report
7777 | report not delivered (error outside CHMI)
9910 | apparaturs leakage
9911 | pump failure - low flowrate
9912 | gasometer failure
9913 | short-term power failure
9914 | negative value
9915 | incorrect dating
9916 | breakdown of the registering apparatus
9917 | measurement error is higher than permissible
9919 | other reasons causing data incredibility
9920 | ruptured hose
9921 | pump failure - no action
9922 | defective gasometer
9923 | long-term power failure
9924 | broken filter
9925 | broken impinger (or sampler)
9926 | missing material (chemicals, filters, etc.)
9927 | illness of the observer
9928 | missing observer
9929 | other reasons of missing data due to the problems at the station
9930 | failure of spectophonometer (autoanalysers) in the laboratory
9931 | vial broken in the laboratory
9932 | too high concentration
9933 | sample spilled in the laboratory
9934 | missing record in the laboratory
9939 | other reasons of missing data due to the problems in the laboratory
9941 | broken during transport
9942 | coulograph reset
9943 | station does not exist (cancelled or newly established during the measurement)
9950 | supplied value beyond the range (0.5000), (-1) and beyond error code-list
9951 | data eliminated due to unreliability
9952 | converted from the value -1
9960 | calibration
9961 | regular maintenance
9999 | data not delivered due to the problems at the station